## TITLE
V J ASSOCIATES
136 WEST JOHN STREET
HICKSVILLE, NEW YORK 11801
TEL: (516) 932-1010
FEASIBILITY STUDY ESTIMATE
ARCHITECTURAL TRADES
JOURNAL SQUARE STATION
JSTC PATH POLICE COMMAND FACILITY
RENOVATION & ADDITION
2004-07-02

## QUALIFICATION
FEASIBILITY STUDY ESTIMATE
ARCHITECTURAL TRADES
JOURNAL SQUARE STATION
JSTC PATH POLICE COMMAND FACILITY
RENOVATION & ADDITION
QUALIFICATIONS
1 | A-E fees and overtime are not included.
2 | Removal of contaminated materials not included.
3 | Current costs . No escalation included.
4 | Architectural trade estimates are created by VJ Associates. MEP/FP estimates are prepared
by LKB Inc and attached herewith by Goshow Architects.
5 | This estimate is based on documents prepared by Goshow Architects and LKB Inc.

## Summary
|  |  |  | PROGRAM | [9 empty] | J.T.
|  | CHARGE NO. |  | PROJECT | AREA | JOB | 2 Gateway Center, Newark, NJ - 07102 | [6 empty] | SHEET NO.
ENGINEERING DEPARTMENT
[7 empty] | CONSTRUCTION COST ESTIMATES | [6 empty] | MADE BY
| DATE | 2004-07-02 |  | NAME OF STRUCTURE |  |  | JOURNAL SQUARE STATION | [6 empty] | CHECKED BY
OPTION F - SUMMARY
[6 empty] | ESTIMATE WORK SHEET | [7 empty] | STAGE
ITEM |  |  | DESCRIPTION |  |  |  |  | QUANTITY | UNIT |  | TOTAL UNIT PRICE | TOTAL AMOUNT |  | REMARKS
SUMMARY
|  | DIVISION 1 - GENERAL REQUIREMENTS | [9 empty] | 100000
|  | DIVISION 2 - DEMOLITION | [9 empty] | 93734
|  | DIVISIONS 3 - 14 | [9 empty] | 724152.5
-
|  |  |  | SUBTOTAL DIV. 1-14 | [7 empty] | 917886.5
|  | DIVISION 15 - MECHANICAL | [9 empty] | 225350
|  |  |  | PLUMBING | [7 empty] | 26700
|  |  |  | FIRE SPRINKLER | [7 empty] | 57725
|  | DIVISION 16 - ELECTRICAL | [9 empty] | 212810.8
-
|  |  |  | SUBTOTAL DIV. 15 & 16 | [7 empty] | 522585.8
-
|  |  |  | TOTAL | [7 empty] | 1440472.3
| OVERHEAD & PROFIT | [8 empty] | 21% |  | 302499.183
-
|  |  |  | SUBTOTAL | [7 empty] | 1742971.483
| CONTINGENCY | [8 empty] | 25% |  | 435742.8708
-
|  |  |  | SUBTOTAL | [7 empty] | 2178714.3537
[5 empty] | TOTAL COST FOR OPTION F | [6 empty] | 2178714.3537 | SAY | 2200000

## OPTION F
|  |  |  | PROGRAM | [7 empty] | J.T.
|  | CHARGE NO. |  | PROJECT | AREA | JOB | 2 Gateway Center, Newark, NJ - 07102 |  |  |  |  | SHEET NO.
ENGINEERING DEPARTMENT
[7 empty] | CONSTRUCTION COST ESTIMATES |  |  |  |  | MADE BY
| DATE | 2004-07-02 |  | NAME OF STRUCTURE |  |  | JOURNAL SQUARE STATION |  |  |  |  | CHECKED BY
OPTION F - ARCHITECTURAL TRADES SUMMARY
[6 empty] | ESTIMATE WORK SHEET | [5 empty] | STAGE
ITEM |  |  | DESCRIPTION |  |  |  |  | QUANTITY | UNIT | TOTAL UNIT PRICE | TOTAL AMOUNT | REMARKS
SUMMARY
|  | DIVISION 1 - GENERAL REQUIREMENTS | [8 empty] | 100000
|  | DIVISION 2 - DEMOLITION | [8 empty] | 93734
|  | DIVISION 3 - CONCRETE | [8 empty] | 7500
|  | DIVISION 4 - MASONRY | [8 empty] | 52800
|  | DIVISION 5 - METALS | [8 empty] | 10750
|  | DIVISION 6 - WOOD AND PLASTIC | [8 empty] | 74390
|  | DIVISION 7 - THERMAL & MOISTURE PROTECTION | [8 empty] | 1060.5
|  | DIVISION 8 - DOORS AND WINDOWS | [8 empty] | 266200
|  | DIVISION 9 - FINISHES | [8 empty] | 261152
|  | DIVISION 10 - SPECIALTIES | [8 empty] | 25300
|  | DIVISION 11 - EQUIPMENTS | [8 empty] | 25000
|  | DIVISION 12 - FURNISHINGS | [8 empty] | 0
|  | DIVISION 13 - SPECIAL CONSTRUCTION | [8 empty] | 0
|  | DIVISION 14 - CONVEYING SYSTEMS | [8 empty] | 0
-
|  |  |  | SUBTOTAL | [6 empty] | 917886.5
|  | DIVISION 1 - GENERAL REQUIREMENT | [5 empty] | 1 | LS | 100000 | 100000
-
|  | TOTAL | [8 empty] | 100000
DIVISION 2 - DEMOLITION
Remove existing
|  | Floor finish | [5 empty] | 6484 | SF | 3.5 | 22694
|  | Ceiling finish | [5 empty] | 6484 | SF | 1.5 | 9726
|  | Partitions | [5 empty] | 285 | LF | 18 | 5130
|  | Metal and bulletproof partitions (Kevlar+GWB+storefront+blind) | [5 empty] | 77 | LF | 80 | 6160
|  | Doors | [5 empty] | 16 | EA | 250 | 4000
|  | GWB Soffit | [5 empty] | 968 | SF | 3 | 2904
|  | MEP | [5 empty] | 6484 | SF | 5 | 32420
|  | Cut door opening | [5 empty] | 2 | EA | 350 | 700
|  | Misc. demolition | [5 empty] | 1 | LS | 5000 | 5000
|  | Temporary support and protection | [5 empty] | 1 | LS | 5000 | 5000
-
|  | TOTAL | [8 empty] | 93734
DIVISION 3 - CONCRETE
|  | Cut & patch floors @ floor removal | [5 empty] | 1 | LS | 5000 | 5000
|  | Concrete pads | [5 empty] | 1 | LS | 2500 | 2500
-
|  | TOTAL | [8 empty] | 7500
DIVISION 4 - MASONRY
|  | CMU Partitions @ renovation to exist. - 20% | [5 empty] | 60 | LF | 320 | 19200
|  | CMU Partitions @ addition to exist. | [5 empty] | 105 | LF | 320 | 33600
-
|  | TOTAL | [8 empty] | 52800
DIVISION 5 - METALS
|  | Misc. metal | [5 empty] | 1 | LS | 2500 | 2500
|  | Metal angles @ CMU Partitions | [5 empty] | 165 | LF | 50 | 8250
-
|  | TOTAL | [8 empty] | 10750
DIVISION 6 - WOOD AND PLASTIC
|  | Rough carpentry | [5 empty] | 1 | LS | 10000 | 10000
|  | Misc. wood blocking | [5 empty] | 1 | LS | 5000 | 5000
Millwork @ renovation &addition to exist.
|  | Corian sink/countertop @ showers & toilet area | [5 empty] | 8 | LF | 650 | 5200
Pl. Lam. Counter
|  | @ Arrest processing | [5 empty] | 0 | LF | 350 | 0
|  | @ Storage | [5 empty] | 16 | LF | 350 | 5600
|  | @ Weapon cleaning | [5 empty] | 9 | LF | 3510 | 31590
|  | @ Police desk reception | [8 empty] | NIC
Counter top w/wall & base cabinet
|  | @ copy room | [5 empty] | 8 | LF | 750 | 6000
|  | @ Kitchen | [5 empty] | 8 | LF | 750 | 6000
|  | Reception desk | [8 empty] | NIC
|  | Misc. Carpentry | [5 empty] | 1 | LS | 5000 | 5000
-
|  | TOTAL | [8 empty] | 74390
DIVISION 7 - THERMAL & MOISTURE PROTECTIONS
|  | Waterproofing @ toilet floor & showers @ renovation to exist. | [5 empty] | 303 | SF | 3.5 | 1060.5
-
|  | TOTAL | [8 empty] | 1060.5
DIVISION 8 - DOORS AND WINDOWS
Interior doors with frames and hardware @ renovation to exist.
|  | Single | [5 empty] | 11 | EA | 1200 | 13200
|  | Sidelights | [5 empty] | 5 | EA | 1000 | 5000
|  | Closet door - Double | [5 empty] | 2 | PR | 2000 | 4000
Interior doors with frames and hardware @ addition to exist.
|  | Single | [5 empty] | 14 | EA | 1200 | 16800
|  | Sidelights | [5 empty] | 5 | EA | 1000 | 5000
|  | Double | [5 empty] | 1 | EA | 2400 | 2400
|  | Interior metal and bulletproof glass partitions w/miniblind w/steel panel above | [5 empty] | 1064 | SF | 200 | 212800
(XC) Doors in above
|  | Double | [5 empty] | 1 | PR | 7000 | 7000
-
|  | TOTAL | [8 empty] | 266200
DIVISION 9 - FINISHES
|  | GWB Partitions @ renovation to exist. | [5 empty] | 350 | LF | 100 | 35000
|  | GWB Partitions @ addition to exist. | [5 empty] | 300 | LF | 100 | 30000
|  | GWB @ columns | [5 empty] | 90 | LF | 50 | 4500
Floor finish including base @ renovation to exist.
|  | Flash patch existing floor finish @ renovation to exist. | [5 empty] | 3700 | SF | 2.5 | 9250
|  | VCT/carpet | [5 empty] | 3161 | SF | 3.5 | 11063.5
|  | Ceramic tile @ toilet | [5 empty] | 303 | SF | 9 | 2727
|  | Paint exist.floor | [5 empty] | 480 | SF | 1.5 | 720
|  | Tile @ reception area | [5 empty] | 210 | SF | 15 | 3150
Floor finish including base @ addition to exist.
|  | Flash patch existing floor finish (terrazzo removal) | [5 empty] | 2784 | SF | 5 | 13920
|  | VCT/carpet | [5 empty] | 2004 | SF | 3.5 | 7014
|  | Paint exist.floor | [5 empty] | 290 | SF | 1.5 | 435
|  | Tile @ reception area | [5 empty] | 110 | SF | 15 | 1650
|  | Patch terrazzo | [5 empty] | 648 | SF | 25 | 16200
Ceiling finish @ renovation to exist.
|  | GWB | [5 empty] | 341 | SF | 5.5 | 1875.5
|  | Acoustic tile, 2x2 | [5 empty] | 2864 | SF | 4.5 | 12888
|  | Metal panel ceiling | [5 empty] | 440 | SF | 15 | 6600
Ceiling finish @ addition to exist.
|  | GWB soffit | [5 empty] | 522 | SF | 15 | 7830
|  | GWB Fascia | [5 empty] | 80 | LF | 15 | 1200
|  | Acoustic tile, 2x2 | [5 empty] | 2234 | SF | 4.5 | 10053
|  | Metal panel ceiling | [5 empty] | 600 | SF | 15 | 9000
|  | Aluminium panel ceiling | [5 empty] | 522 | SF | 20 | 10440
|  | Remove and replace ceiling @ stair #15 & elevator lobby | [5 empty] | 2200 | SF | 15 | 33000
5636
Partition finishes @ renovation to exist.
|  | Ceramic tile | [5 empty] | 1112 | SF | 9 | 10008
|  | Paint GWB/CMU | [5 empty] | 9168 | SF | 1 | 9168
Partition finishes @ addition to exist.
|  | Paint GWB/CMU | [5 empty] | 5960 | SF | 1 | 5960
Miscellaneous
|  | Paint doors @ renovation to exist. | [5 empty] | 11 | EA | 100 | 1100
|  | Paint doors @ addition to exist. | [5 empty] | 14 | EA | 100 | 1400
|  | Misc. paint and patch work | [5 empty] | 1 | LS | 5000 | 5000
-
|  | TOTAL | [8 empty] | 261152
DIVISION 10 - SPECIALTIES
|  | Toilet partitions | [5 empty] | 4 | EA | 850 | 3400
|  | Shower compartments | [5 empty] | 2 | EA | 1500 | 3000
|  | Toilet accessories | [5 empty] | 1 | LS | 3500 | 3500
|  | Gun lockers | [5 empty] | 4 | EA | 850 | 3400
|  | Lockers | [5 empty] | 16 | EA | 250 | 4000
|  | Locker benches | [5 empty] | 14 | LF | 150 | 2100
|  | Mail boxes | [5 empty] | 6 | EA | 150 | 900
|  | Misc. specialties | [5 empty] | 1 | LS | 5000 | 5000
-
|  | TOTAL | [8 empty] | 25300
DIVISION 11 - EQUIPMENTS
|  | Kitchen equipments | [5 empty] | 1 | LS | 25000 | 25000
-
|  | TOTAL | [8 empty] | 25000
Quantities and Unit Prices indicated hereon are applicable only to this estimate and are not to be copied.

## ME_Summary
Work Order No: | [7 empty] | Discipline: | Mechanical | Sheet: | 1 of 5
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-18
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
COST SUMMARY - MECHANICAL
| Total Sheet 2 | [5 empty] | 31900
| Total Sheet 3 | [5 empty] | 57050
| Total Sheet 4 | [5 empty] | 113100
| Total Sheet 5 | [5 empty] | 23300
| SUBTOTAL | [5 empty] | 225350
| 20% O & P | [5 empty] | 45070
| TOTAL | [5 empty] | 270420
| ROUND | [5 empty] | 270500

## MECH2
Work Order No: | [7 empty] | Discipline: | Mechanical | Sheet: | 2 of 5
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-18
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
I. REMOVALS
1 | Remove air handling unit AHU-1serving
| locker room |  |  | 1 | ea. | 2500 | 2500
2 | Remove air handling unit AHU-2 serving
| operations area |  |  | 1 | ea. | 7000 | 7000
3 | Remove locker room exhaust fan F-1 |  |  | 1 | ea. | 800 | 800
4 | Remove operations area return/exhaust
| fan F-2 |  |  | 1 | ea. | 800 | 800
5 | Remove chilled water pumps |  |  | 2 | ea. | 700 | 1400
6 | Remove hot water pumps |  |  | 2 | ea. | 700 | 1400
7 | Remove chilled water piping |  |  | 1 | ea. | 1000 | 1000
8 | Remove hot water piping |  |  | 1 | ea. | 1000 | 1000
9 | Remove ductwork, supports |  |  | 1 | ea. | 13000 | 13000
10 | Remove duct silencers |  |  | 3 | ea. | 1000 | 3000
| Total Sheet#2 | [5 empty] | 31900

## MECH3
Work Order No: | [7 empty] | Discipline: | Mechanical | Sheet: | 3 of 5
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-18
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION
1 | Install central station air handling unit |  |  | 1 | ea. | 25000 | 25000
2 | Install mounting pad |  |  | 1 | ea. | 3500 | 3500
3 | Install water cooled air conditioning unit |  |  | 1 | ea. | 9000 | 9000
4 | Install air conditioning unit support
| hardware |  |  | 1 | ea. | 1500 | 1500
5 | Install air conditioning controls |  |  | 1 | ea. | 9000 | 9000
6 | Install locker room and toilet room
| exhaust fan |  |  | 1 | ea. | 3750 | 3750
7 | Install kitchen exhaust fan |  |  | 1 | ea. | 2300 | 2300
8 | Install fan support hardware |  |  | 1 | ea. | 2000 | 2000
9 | Install fan controls |  |  | 1 | ea. | 1000 | 1000
| Total Sheet#3 | [5 empty] | 57050

## MECH4
Work Order No: | [7 empty] | Discipline: | Mechanical | Sheet: | 4 of 5
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-18
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
10 | Install air handling unit ductwork |  |  | 1 | ea. | 23000 | 23000
11 | Install air conditioning unit ductwork |  |  | 1 | ea. | 1200 | 1200
12 | Install outside air ductwork |  |  | 1 | ea. | 3500 | 3500
13 | Install locker room and toilet room
| exhaust ductwork |  |  | 1 | ea. | 14000 | 14000
14 | Install kitchen exhaust ductwork |  |  | 1 | ea. | 8000 | 8000
15 | Install duct support hardware |  |  | 1 | ea. | 3000 | 3000
16 | Install diffusers |  |  | 40 | ea. | 600 | 24000
17 | Install return grilles |  |  | 16 | ea. | 600 | 9600
18 | Install exhaust registers |  |  | 14 | ea. | 600 | 8400
19 | Install fire dampers |  |  | 5 | ea. | 1000 | 5000
20 | Install variable air volume boxes |  |  | 14 | ea. | 2600 | 36400
| Total Sheet#4 | [5 empty] | 113100

## MECH5
Work Order No: | [7 empty] | Discipline: | Mechanical | Sheet: | 5 of 5
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-18
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
21 | Install chilled water pumps |  |  | 2 | ea | 2500 | 5000
22 | Install chilled water piping |  |  | 1 | ea | 3500 | 3500
23 | Install piping insulation |  |  | 1 | ea | 1800 | 1800
24 | Install condenser water pumps |  |  | 2 | ea | 2500 | 5000
25 | Install condenser water piping |  |  | 1 | ea | 3500 | 3500
26 | Install pipe support hardware |  |  | 1 | ea | 4500 | 4500
| Total Sheet#5 | [5 empty] | 23300

## PL_Summary
Work Order No: | [7 empty] | Discipline: | Plumbing | Sheet: | 1 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
COST SUMMARY - PLUMBING
| Total Sheet 2 | [5 empty] | 2400
| Total Sheet 3 | [5 empty] | 24300
| SUBTOTAL | [5 empty] | 26700
| 20% O & P | [5 empty] | 5340
| TOTAL | [5 empty] | 32040
| ROUND | [5 empty] | 32100

## PLUMB2
Work Order No: | [7 empty] | Discipline: | Plumbing | Sheet: | 2 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
I. REMOVALS
1 | Remove and cap off hot and cold water
| piping to existing kitchen sink |  |  | 1 | ea. | 650 | 650
2 | Cap off drainage piping from existing
| kitchen sink |  |  | 1 | ea. | 550 | 550
3 | Remove vent piping from existing kitchen sink
| sink |  |  | 1 | ea. | 500 | 500
4 | Remove existing kitchen sink |  |  | 1 | ea. | 350 | 350
5 | Remove existing toilet in holding cell |  |  | 1 | ea. | 350 | 350
| Total Sheet#2 | [5 empty] | 2400

## PLUMB3
Work Order No: | [7 empty] | Discipline: | Plumbing | Sheet: | 3 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION
1 | Install new kitchen sink |  |  | 1 | ea. | 1200 | 1200
2 | Install hot and cold water piping to
| new kitchen sink |  |  | 1 | ea. | 2500 | 2500
3 | Install waste piping to new kitchen sink |  |  | 1 | ea. | 10000 | 10000
4 | Install vent piping to new kitchen sink |  |  | 1 | ea. | 1500 | 1500
5 | Install new toilets |  |  | 2 | ea. | 1400 | 2800
6 | Install cold water piping to new toilets |  |  | 1 | ea. | 1500 | 1500
7 | Install waste piping to new toilets |  |  | 1 | ea. | 6000 | 6000
| Total Sheet#3 | [5 empty] | 24300

## FS_Summary
Work Order No: | [7 empty] | Discipline: | Fire Sprinkler | Sheet: | 1 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
COST SUMMARY - FIRE SPRINKLER
| Total Sheet 2 | [5 empty] | 20000
| Total Sheet 3 | [5 empty] | 37725
| SUBTOTAL | [5 empty] | 57725
| 20% O & P | [5 empty] | 11545
| TOTAL | [5 empty] | 69270
| ROUND | [5 empty] | 69300

## FS_2
Work Order No: | [7 empty] | Discipline: | Fire Sprinkler | Sheet: | 2 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
I. REMOVALS
1 | Remove existing fire sprinkler system |  |  | 8000 | sf | 2.5 | 20000
| Total Sheet#2 | [5 empty] | 20000

## FS_3
Work Order No: | [7 empty] | Discipline: | Fire Sprinkler | Sheet: | 3 of 3
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | WZ | Date: | 2004-06-30
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: |  | Date:
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION
1 | Install fire sprinkler system |  |  | 10060 | sf | 3.75 | 37725
| Total Sheet#3 | [5 empty] | 37725

## ELEC Summary
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 1 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
COST SUMMARY - ELECTRICAL
| Total Sheet 2 | [5 empty] | 13975
| Total Sheet 3 | [5 empty] | 51154.395
| Total Sheet 4 | [5 empty] | 8980.5
| Total Sheet 5 | [5 empty] | 36568
| Total Sheet 6 | [5 empty] | 27402.905
| Total Sheet 7 | [5 empty] | 74730
| SUBTOTAL | [5 empty] | 212810.8
| 20% O & P | [5 empty] | 42562.16
| TOTAL | [5 empty] | 255372.96
| ROUND | [5 empty] | 255000

## ELEC DEMO
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 2 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
I. REMOVALS
1 | Remove recessed lighting fixtures, wiring
| etc. |  |  | 110 | EA | 50 | 5500
2 | Remove receptacles, jacks, etc. |  |  | 68 | EA | 25 | 1700
3 | Remove smoke detectors |  |  | 15 | EA | 50 | 750
4 | Remove bells |  |  | 5 | EA | 50 | 250
5 | Remove heat detectors |  |  | 8 | EA | 50 | 400
6 | Remove pull stations and store |  |  | 6 | EA | 50 | 300
7 | Remove lighting switches |  |  | 33 | EA | 50 | 1650
8 | Remove exhaust fan F-1, 1 1/2 HP, starter
| wiring, etc. |  |  | 1 | EA | 250 | 250
9 | Remove exhaust fan F-2, 3 HP, starter | [5 empty] | 0
| wiring, etc. |  |  | 1 | EA | 250 | 250
10 | Remove AHU-1 starter, wiring, etc. |  |  | 1 | EA | 712.5 | 712.5
11 | Remove AHU-2 starter, wiring, etc. |  |  | 1 | EA | 712.5 | 712.5
12 | Remove 1/c #12 & 3/4" conduit |  |  | 500 | LF | 3 | 1500
| Total Sheet#2 | [5 empty] | 13975

## ELEC I
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 3 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION SH 1 of 3
1 | lighting
| Perimeter trough with battery backup |  |  | 11 | ea. | 222.5 | 2447.5
| 2'X2' Recessed Flouorescent Fixture |  |  | 91 | ea. | 205.225 | 18675.475
| 2'X2' Recessed Fixture with battery backup |  |  | 5 | ea. | 258.225 | 1291.125
| Medium Security w/ tempered glass |  |  | 2 | ea. | 155 | 310
| 10"X 4' Pendant mounted fixture |  |  | 5 | ea. | 177 | 885
| 10"X 4' Pendant mounted w/ battery backup |  |  | 1 | ea. | 270 | 270
| 8"X4' Recessed linear slat ceiling fixture |  |  | 9 | ea. | 161.585 | 1454.265
| 8"X4' Recessed w/ battery backup |  |  | 4 | ea. | 203.5 | 814
| 1'X4' recessed fixture |  |  | 18 | ea. | 178.585 | 3214.53
| 1'X4' recessed fixture w/ battery backup |  |  | 6 | ea. | 223.5 | 1341
| 2'X4' recessed medium security |  |  | 1 | ea. | 212.5 | 212.5
| 2'X4' recessed w/ battery backup |  |  | 9 | ea. | 271 | 2439
| pendant mounted open indust. Fixture |  |  | 9 | ea. | 150 | 1350
| 100w recessed incandescent shower fixt. |  |  | 5 | ea. | 164 | 820
| ceiling mounted compact down light |  |  | 33 | ea. | 154 | 5082
| medium security corn/wall w/ bat. Backup |  |  | 4 | ea. | 213.5 | 854
| recessed trough lighting |  |  | 140 | lf | 12.6 | 1764
2 | Install lighting switches
| 1p |  |  | 39 | ea. | 150 | 5850
| 3way |  |  | 4 | ea. | 200 | 800
3 | Hook-up pumps 1,2,3,4 |  |  | 4 | ea | 320 | 1280
| Total Sheet#3 | [5 empty] | 51154.395

## ELEC III
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 4 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION SH 2 of 3
4 | Install receptacles, jacks, etc.
| wall mount telephone |  |  | 25 | ea. | 53 | 1325
| wall mount data |  |  | 19 | ea. | 53 | 1007
| wall mounted quad receptacle |  |  | 18 | ea. | 106 | 1908
| wall mount duplex |  |  | 53 | ea. | 53 | 2809
| wall mount GFI |  |  | 5 | ea. | 53 | 265
| floor mount quad receptacle |  |  | 5 | ea. | 120 | 600
| floor mount telephone |  |  | 6 | ea. | 72 | 432
| floor mount data |  |  | 6 | ea. | 72 | 432
| wall mount tv |  |  | 1 | ea. | 53 | 53
| junction boxes |  |  | 2 | ea. | 53 | 106
| simplex receptacle |  |  | 1 | ea. | 43.5 | 43.5
5 | Install 480-208/120V 3ph 4 wire 30 KVA |  |  | 1 | ea. | 3255 | 3255
transformer
6 | Install 208/120 volt 100A fused disconnect |  |  | 1 | ea. | 620 | 620
switch
7 | 225 amp main lug panel 480/277V 3ph 4W |  |  | 1 | ea. | 3825 | 3825
with 36 circuits
8 | 100 amp main lug panel 208/120V 3ph 4W |  |  | 1 | ea. | 2400 | 2400
30 circuits
9 | 125 amp 3 pole circuit breaker installed |  |  | 1 | ea. | 834 | 834
in panel NP-1
| Total Sheet#4 | [5 empty] | 8980.5

## ELEC II
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 5 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
II. INSTALLATION SH 3 of 3
10 | Hook-up A/C-1 and AHU-1 |  |  | 2 | ea. | 960 | 1920
11 | Hook-up chilled water pump supply |  |  | 1 | ea. | 320 | 320
12 | Hook-up chilled water pump return |  |  | 1 | ea. | 320 | 320
13 | Hook-up hot water supply pump |  |  | 1 | ea. | 320 | 320
14 | Hook-up hot water return pump |  |  | 1 | ea. | 320 | 320
15 | Hook-up A/C-1 controls |  |  | 1 | ea. | 790 | 790
16 | Combination starters for pumps NEMA
| 1, size 1 480V 3 ph |  |  | 4 | ea. | 1257 | 5028
17 | Install fire alarm horn/strobe |  |  | 8 | ea. | 237.5 | 1900
18 | Install fire alarm panel |  |  | 1 | ea. | 8500 | 8500
19 | Install smoke detectors |  |  | 25 | ea. | 250 | 6250
20 | Install Exit Signs |  |  | 13 | EA | 400 | 5200
21 | Install duct detectors |  |  | 1 | ea. | 450 | 450
22 | Install heat detectors |  |  | 15 | ea. | 250 | 3750
23 | Install pull stations |  |  | 6 | ea. | 250 | 1500
| Total Sheet# 5 | [5 empty] | 36568

## WIRE
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 6 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
III. WIRE
1 | 1/C #1/0 + grd |  |  | 555 | lf | 2.7 | 1498.5
2 | 1/c #2 + grd |  |  | 125 | lf | 1.99 | 248.75
3 | 1/c #8 + grd |  |  | 125 | lf | 0.98 | 122.5
4 | 1/c #12 + grd |  |  | 12000 | lf | 0.65 | 7800
5 | 1-1/C#12 + grd - lighting |  |  | 8580 | lf | 0.65 | 5577
6 | 2/c #14 fire alarm cable |  |  | 3104 | lf | 2.72 | 8442.88
7 | 1-1/c Telephone cable |  |  | 2000 | lf | 0.893 | 1786
8 | Cat 5e Data Cable w/ RJ-45 connector |  |  | 1500 | lf | 1.2849 | 1927.275
| Total Sheet# 6 | [5 empty] | 27402.905

## CONDUIT
Work Order No: | [7 empty] | Discipline: | Electrical | Sheet: | 7 of 7
Charge Code: |  |  | Engineering Department |  |  |  |  | Prepared by: | RS | Date: | 2004-06-25
Project Mgr: |  | Nilgun Ozdemir |  |  |  | Construction Cost Estimate (Stage I) |  | Checked by: | BG | Date: | 2004-06-25
Contract No.:
Project Title: |  | PATH POLICE COMMAND FACILITY AT JOURNAL SQUARE
Item # | Description |  |  | Quantity | Unit | Unit Price $ | Total $ |  | Remarks
IV. CONDUIT
1 | 2" RGS conduit |  |  | 1000 | lf | 19.9 | 19900
2 | 1 1/4" RGS conduit |  |  | 1000 | lf | 14.31 | 14310
3 | 3/4" RGS conduit |  |  | 4000 | lf | 7.88 | 31520
4 | Misc. Conduit bodies & fittings |  |  | 200 | ea | 45 | 9000
0
| Total Sheet# 7 | [5 empty] | 74730